## PSR002-000Gtemp
Name | Input |  |  |  | ITHD |  |  | Efficiency |  | Power_Factor |  |  | Measure_Setting
|  |  |  | LoadA | Total_Harmonic |  | Order | [5 empty] | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | % | % |  | % | % |  |  | string | Second | Second
Default |  |  | 5 |  |  |  | 40 | [5 empty] | 60 | 30 | 0.2
Description
| 220 | 50 |  | 101.025 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 112.25 |  |  |  | 96.7 |  | 0.98

## PSR002-000G_PF
Name | Input |  |  |  | ITHD |  |  | Efficiency |  | Power_Factor |  |  | Measure_Setting
|  |  |  | LoadA | Total_Harmonic |  | Order | [5 empty] | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | % | % |  | % | % |  |  | string | Second | Second
Default |  |  | 5 |  |  |  | 40 | [5 empty] | 600 | 300 | 0.2
Description
| 220 | 50 |  | 11.225 | [5 empty] | 0.92
| 220 | 50 |  | 22.45 | [5 empty] | 0.92
| 220 | 50 |  | 33.675 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 44.9 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 56.125 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 67.35 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 78.575 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 89.8 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 101.025 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 112.25 |  |  |  | 96.7 |  | 0.98
| 230 | 50 |  | 11.225 | [5 empty] | 0.92
| 230 | 50 |  | 22.45 | [5 empty] | 0.92
| 230 | 50 |  | 33.675 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 44.9 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 56.125 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 67.35 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 78.575 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 89.8 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 101.025 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 112.25 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 11.225 | [5 empty] | 0.9
| 277 | 60 |  | 22.45 | [5 empty] | 0.9
| 277 | 60 |  | 33.675 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 44.9 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 56.125 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 67.35 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 78.575 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 89.8 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 101.025 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 112.25 |  |  |  | 97.7 |  | 0.98

## PSR002-000G
Name | Input |  |  |  | ITHD |  |  | Efficiency |  | Power_Factor |  |  | Measure_Setting
|  |  |  | LoadA | Total_Harmonic |  | Order | [5 empty] | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | % | % |  | % | % |  |  | string | Second | Second
Default |  |  | 5 |  |  |  | 40 | [5 empty] | 600 | 300 | 0.2
Description
| 220 | 50 |  | 11.225 | [5 empty] | 0.92
| 220 | 50 |  | 22.45 | [5 empty] | 0.92
| 220 | 50 |  | 33.675 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 44.9 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 56.125 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 67.35 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 78.575 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 89.8 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 101.025 |  |  |  | 96.7 |  | 0.98
| 220 | 50 |  | 112.25 |  |  |  | 96.7 |  | 0.98
| 230 | 50 |  | 11.225 | [5 empty] | 0.92
| 230 | 50 |  | 22.45 | [5 empty] | 0.92
| 230 | 50 |  | 33.675 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 44.9 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 56.125 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 67.35 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 78.575 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 89.8 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 101.025 |  |  |  | 97.7 |  | 0.98
| 230 | 50 |  | 112.25 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 11.225 | [5 empty] | 0.9
| 277 | 60 |  | 22.45 | [5 empty] | 0.9
| 277 | 60 |  | 33.675 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 44.9 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 56.125 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 67.35 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 78.575 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 89.8 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 101.025 |  |  |  | 97.7 |  | 0.98
| 277 | 60 |  | 112.25 |  |  |  | 97.7 |  | 0.98

## NWQ008-EA0G
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default | 230 | 50 | 3 | [5 empty] | 90 | 100 |  | 120 | 60 | 0.1
1 |  |  |  | 2.93 | 0.14808
2
3
4
5
6
7
8
9
10
11

## 說明
All Parameters: | 名稱 |  |  | 型態 | I/O | 說明 | 操作順序
| Index |  |  | int | O | 項目Index (從1開始) |  | 開機 | 開啟負載
| PassFail |  |  | bool | O | 本條件測試結果(bool) |  |  | 開啟電源
| PassFailStr |  |  | string | O | 本條件測試結果(string) |  | 等待 | 紀錄等待數據
| Input | Voltage |  | float | I | 輸入電壓 |  | 積分量測 | 設定積分
|  | Frequency |  | float | I | 輸入頻率 |  |  | 等待積分
|  | Start_Phase |  |  | I | 起始角度 |  |  | 讀取積分數據
|  | Crest_Factor |  | float | I | CF |  | 瞬時量測 | 讀取瞬時數據
|  | Turn_On_Delay |  | float | I | 開機後延遲 |  | 若不是最後條件，則前往步驟1
| Load |  |  | Array | I | 負載(%) |  | 關機 | 關閉電源
| LoadA |  |  | Array | O | 負載(A), 系統會根據Input查詢Max Load後產生對應的Amp |  |  | 等待
| Measure_Setting | Burning_Sec |  | int | I | 開機吃載後，燒機時間(秒), 預設1秒 |  |  | 關閉負載
|  | Integration_Sec |  | int | I | 量測Pin, Iin的積分時間，若為0則採用瞬時數據
|  | Vin_Torrance |  | float | I | 電壓調整時的誤差接受範圍(預設1V)
|  | Vin_Adjustment_Ratio |  | float | I | 電壓調整時，調整比例，預設0.3 (30%)
|  | Vin_Adjustment_Retry |  | int | I | 電壓調整時，最大調整次數，預設20次
|  | Average_Count |  | int | I | 平均次數, 針對量測 Vin, PF, Vout, Iout, Pout, 預設1次
|  | Harmonic_Order |  | int | I | ITHD的階數(預設40)
| ITHD | Series |  | Array | O | 各階量測結果
|  | Total_Harmonic | UpperSpec | float | I | 規格上限
|  |  | LowerSpec | float | I | 規格下限
|  |  | MeasureData | float | O | 量測數值
|  |  | PassFail | string | O | 量測結果(Pass/Fail)
|  |  | PassFail_bool | bool | O | 量測結果(TRUE/FALSE)
| VTHD | Series |  | Array | O | 各階量測結果
|  | Total_Harmonic | UpperSpec | float | I | 規格上限
|  |  | LowerSpec | float | I | 規格下限
|  |  | MeasureData | float | O | 量測數值
|  |  | PassFail | string | O | 量測結果(Pass/Fail)
|  |  | PassFail_bool | bool | O | 量測結果(TRUE/FALSE)
| Vin, Iin, Pin, Efficiency, Power_Factor, Pout |  | UpperSpec | float | I | 規格上限
|  |  | LowerSpec | float | I | 規格下限
|  |  | MeasureData | float | O | 量測數值
|  |  | PassFail | string | O | 量測結果(Pass/Fail)
|  |  | PassFail_bool | bool | O | 量測結果(TRUE/FALSE)
| Vout, Iout |  | UpperSpec | float array | I | 規格上限
|  |  | LowerSpec | float array | I | 規格下限
|  |  | MeasureData | float array | O | 量測數值
|  |  | PassFail | string array | O | 量測結果(Pass/Fail)
|  |  | PassFail_bool | bool array | O | 量測結果(TRUE/FALSE)
| Iin_History |  |  | float_array | O | Iin在Brnuing時間的量測數據
| Vin_History |  |  | float_array | O | Vin在Brnuing時間的量測數據
| Pin_History |  |  | float_array | O | Pin在Brnuing時間的量測數據
| Power_Factor_History |  |  | float_array | O | Power_Factor在Brnuing時間的量測數據

## Revision
2024-12-06 | 初始版本

## Scope
Name |  | Description | Setting->
Trigger | Type |  | Edge
| ChannelList |  | Vout
| Level |  | 6
| Coupling |  | DC
| Slope |  | RISE
| Time |  | 0
| Time2 |  | 0
| Range |  | Smaller
| Hold_Type |  | None
| Hold_Value |  | 1
Measures | ChannelList
Type
Spec_Parameter
Start_Gate
End_Gate
Channels | ChannelList |  | Vout | Vin
Name
| Enable |  | TRUE | TRUE
| Impedance | Ohm
| Bandwidth | Hz
| Coupling | AC/DC
Ratio
| VerticalRange | (V/Div) | 2 | 2
Unit
| Position | Div -5~+5 | -3 | -2.5
Noise_Filter
Timebase | Position | % | 50
| Scale | S/div | 0.02
| Sample_Rate | Hz
| Time_Out | s | 10

## FSR001-000G_文成
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default | 230 | 50 | 3 | [5 empty] | 90 | 100 |  | 120 | 60 | 0.1
1 |  |  |  | 2.93 | 0.14808
2 |  |  |  | 5.86 | 0.29617
3 |  |  |  | 11.72 | 0.59234
4 |  |  |  | 17.58 | 0.88851
5 |  |  |  | 23.44 | 1.1847
6 |  |  |  | 29.3 | 1.4808
7 |  |  |  | 35.16 | 1.777
8 |  |  |  | 41.02 | 2.0732
9 |  |  |  | 46.88 | 2.3694
10 |  |  |  | 52.74 | 2.6655
11 |  |  |  | 58.6 | 2.9617

## FSQX03-240G
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default | 230 | 50 | 3 | 58.6 | 2.9617 |  |  |  | 90 | 100 |  | 20 | 20 | 0.1
1 | 230 | 50 | 3 | 58.6 | 2.9617 |  |  |  | 90 | 100 |  | 20 | 20 | 0.1

## FSQX03-240G (3)
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  | 0 | 3 |  |  | 0 | 20 | 40 | 90 | 100 |  | 300 | 60 | 0.1
Description
| 40 |  |  | 79.02 | 3 | [6 empty] | 900 |  |  | 1
| 40 |  |  | 75.069 | 2.85 | [9 empty] | 0.95
| 40 |  |  | 71.118 | 2.7 | [9 empty] | 0.9
| 40 |  |  | 67.167 | 2.55 | [9 empty] | 0.85
| 40 |  |  | 63.216 | 2.4 | [9 empty] | 0.8
| 40 |  |  | 59.265 | 2.25 | [9 empty] | 0.75
| 40 |  |  | 55.314 | 2.1 | [9 empty] | 0.7
| 40 |  |  | 51.363 | 1.95 | [9 empty] | 0.65
| 40 |  |  | 47.412 | 1.8 | [9 empty] | 0.6
| 40 |  |  | 43.461 | 1.65 | [9 empty] | 0.55
| 40 |  |  | 39.51 | 1.5 | [9 empty] | 0.5
| 40 |  |  | 35.559 | 1.35 | [9 empty] | 0.45
| 40 |  |  | 31.608 | 1.2 | [9 empty] | 0.4
| 40 |  |  | 27.657 | 1.05 | [9 empty] | 0.35
| 40 |  |  | 23.706 | 0.9 | [9 empty] | 0.3
| 40 |  |  | 19.755 | 0.75 | [9 empty] | 0.25
| 40 |  |  | 15.804 | 0.6 | [9 empty] | 0.2
| 40 |  |  | 11.853 | 0.45 | [9 empty] | 0.15
| 40 |  |  | 7.902 | 0.3 | [9 empty] | 0.1
| 40 |  |  | 3.951 | 0.15 | [9 empty] | 0.05
| 48 |  |  | 79.02 | 3 | [6 empty] | 900
| 48 |  |  | 75.069 | 2.85
| 48 |  |  | 71.118 | 2.7
| 48 |  |  | 67.167 | 2.55
| 48 |  |  | 63.216 | 2.4
| 48 |  |  | 59.265 | 2.25
| 48 |  |  | 55.314 | 2.1
| 48 |  |  | 51.363 | 1.95
| 48 |  |  | 47.412 | 1.8
| 48 |  |  | 43.461 | 1.65
| 48 |  |  | 39.51 | 1.5
| 48 |  |  | 35.559 | 1.35
| 48 |  |  | 31.608 | 1.2
| 48 |  |  | 27.657 | 1.05
| 48 |  |  | 23.706 | 0.9
| 48 |  |  | 19.755 | 0.75
| 48 |  |  | 15.804 | 0.6
| 48 |  |  | 11.853 | 0.45
| 48 |  |  | 7.902 | 0.3
| 48 |  |  | 3.951 | 0.15
| 72 |  |  | 79.02 | 3 | [6 empty] | 900
| 72 |  |  | 75.069 | 2.85
| 72 |  |  | 71.118 | 2.7
| 72 |  |  | 67.167 | 2.55
| 72 |  |  | 63.216 | 2.4
| 72 |  |  | 59.265 | 2.25
| 72 |  |  | 55.314 | 2.1
| 72 |  |  | 51.363 | 1.95
| 72 |  |  | 47.412 | 1.8
| 72 |  |  | 43.461 | 1.65
| 72 |  |  | 39.51 | 1.5
| 72 |  |  | 35.559 | 1.35
| 72 |  |  | 31.608 | 1.2
| 72 |  |  | 27.657 | 1.05
| 72 |  |  | 23.706 | 0.9
| 72 |  |  | 19.755 | 0.75
| 72 |  |  | 15.804 | 0.6
| 72 |  |  | 11.853 | 0.45
| 72 |  |  | 7.902 | 0.3
| 72 |  |  | 3.951 | 0.15

## PSQ002-000G-ITHD
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  |  | 5 |  |  | 0 | 20 | 40 | 90 | 100 |  | 180 | 180 | 0.2
Description
| 208 | 50 |  | 5.613 | 0
| 208 | 50 |  | 11.225 | 0
| 208 | 50 |  | 16.838 | 0
| 208 | 50 |  | 22.45 | 0
| 208 | 50 |  | 28.063 | 0
| 208 | 50 |  | 33.675 | 0
| 208 | 50 |  | 39.288 | 0
| 208 | 50 |  | 44.9 | 0
| 208 | 50 |  | 50.513 | 0
| 208 | 50 |  | 56.125 | 0
| 208 | 50 |  | 61.738 | 0
| 208 | 50 |  | 67.35 | 0
| 208 | 50 |  | 72.96 | 0
| 208 | 50 |  | 78.575 | 0
| 208 | 50 |  | 84.188 | 0
| 208 | 50 |  | 89.8 | 0
| 208 | 50 |  | 95.413 | 0
| 208 | 50 |  | 101.025 | 0
| 208 | 50 |  | 106.638 | 0
| 208 | 50 |  | 112.25 | 0
| 230 | 50 |  | 5.613 | 0
| 230 | 50 |  | 11.225 | 0
| 230 | 50 |  | 16.838 | 0
| 230 | 50 |  | 22.45 | 0
| 230 | 50 |  | 28.063 | 0
| 230 | 50 |  | 33.675 | 0
| 230 | 50 |  | 39.288 | 0
| 230 | 50 |  | 44.9 | 0
| 230 | 50 |  | 50.513 | 0
| 230 | 50 |  | 56.125 | 0
| 230 | 50 |  | 61.738 | 0
| 230 | 50 |  | 67.35 | 0
| 230 | 50 |  | 72.96 | 0
| 230 | 50 |  | 78.575 | 0
| 230 | 50 |  | 84.188 | 0
| 230 | 50 |  | 89.8 | 0
| 230 | 50 |  | 95.413 | 0
| 230 | 50 |  | 101.025 | 0
| 230 | 50 |  | 106.638 | 0
| 230 | 50 |  | 112.25 | 0
| 240 | 60 |  | 5.613 | 0
| 240 | 60 |  | 11.225 | 0
| 240 | 60 |  | 16.838 | 0
| 240 | 60 |  | 22.45 | 0
| 240 | 60 |  | 28.063 | 0
| 240 | 60 |  | 33.675 | 0
| 240 | 60 |  | 39.288 | 0
| 240 | 60 |  | 44.9 | 0
| 240 | 60 |  | 50.513 | 0
| 240 | 60 |  | 56.125 | 0
| 240 | 60 |  | 61.738 | 0
| 240 | 60 |  | 67.35 | 0
| 240 | 60 |  | 72.96 | 0
| 240 | 60 |  | 78.575 | 0
| 240 | 60 |  | 84.188 | 0
| 240 | 60 |  | 89.8 | 0
| 240 | 60 |  | 95.413 | 0
| 240 | 60 |  | 101.025 | 0
| 240 | 60 |  | 106.638 | 0
| 240 | 60 |  | 112.25 | 0
| 277 | 60 |  | 5.613 | 0
| 277 | 60 |  | 11.225 | 0
| 277 | 60 |  | 16.838 | 0
| 277 | 60 |  | 22.45 | 0
| 277 | 60 |  | 28.063 | 0
| 277 | 60 |  | 33.675 | 0
| 277 | 60 |  | 39.288 | 0
| 277 | 60 |  | 44.9 | 0
| 277 | 60 |  | 50.513 | 0
| 277 | 60 |  | 56.125 | 0
| 277 | 60 |  | 61.738 | 0
| 277 | 60 |  | 67.35 | 0
| 277 | 60 |  | 72.96 | 0
| 277 | 60 |  | 78.575 | 0
| 277 | 60 |  | 84.188 | 0
| 277 | 60 |  | 89.8 | 0
| 277 | 60 |  | 95.413 | 0
| 277 | 60 |  | 101.025 | 0
| 277 | 60 |  | 106.638 | 0
| 277 | 60 |  | 112.25 | 0

## PSQ002-000G
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  |  | 5 |  |  | 0 | 20 | 40 | 90 | 100 |  | 600 | 300 | 0.2
Description
| 208 | 50 |  | 11.225 | 0
| 208 | 50 |  | 22.45 | 0
| 208 | 50 |  | 33.675 | 0
| 208 | 50 |  | 44.9 | 0
| 208 | 50 |  | 56.125 | 0
| 208 | 50 |  | 67.35 | 0
| 208 | 50 |  | 78.575 | 0
| 208 | 50 |  | 89.8 | 0
| 208 | 50 |  | 101.025 | 0
| 208 | 50 |  | 112.25 | 0
| 230 | 50 |  | 11.225 | 0
| 230 | 50 |  | 22.45 | 0
| 230 | 50 |  | 33.675 | 0
| 230 | 50 |  | 44.9 | 0
| 230 | 50 |  | 56.125 | 0
| 230 | 50 |  | 67.35 | 0
| 230 | 50 |  | 78.575 | 0
| 230 | 50 |  | 89.8 | 0
| 230 | 50 |  | 101.025 | 0
| 230 | 50 |  | 112.25 | 0
| 240 | 60 |  | 11.225 | 0
| 240 | 60 |  | 22.45 | 0
| 240 | 60 |  | 33.675 | 0
| 240 | 60 |  | 44.9 | 0
| 240 | 60 |  | 56.125 | 0
| 240 | 60 |  | 67.35 | 0
| 240 | 60 |  | 78.575 | 0
| 240 | 60 |  | 89.8 | 0
| 240 | 60 |  | 101.025 | 0
| 240 | 60 |  | 112.25 | 0
| 277 | 60 |  | 11.225 | 0
| 277 | 60 |  | 22.45 | 0
| 277 | 60 |  | 33.675 | 0
| 277 | 60 |  | 44.9 | 0
| 277 | 60 |  | 56.125 | 0
| 277 | 60 |  | 67.35 | 0
| 277 | 60 |  | 78.575 | 0
| 277 | 60 |  | 89.8 | 0
| 277 | 60 |  | 101.025 | 0
| 277 | 60 |  | 112.25 | 0

## FSQX03-240G_1.1
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  |  | 3 |  |  | 0 | 20 | 40 | 90 | 100 |  | 120 | 120 | 0.1
Description
1 | 100 | 60 |  | 83.213 | 2.901
2 | 100 | 60 |  | 79.052 | 2.756
3 | 100 | 60 |  | 74.891 | 2.611
4 | 100 | 60 |  | 70.731 | 2.466
5 | 100 | 60 |  | 66.57 | 2.32
6 | 100 | 60 |  | 62.409 | 2.175
7 | 100 | 60 |  | 58.249 | 2.03
8 | 100 | 60 |  | 54.088 | 1.885
9 | 100 | 60 |  | 49.928 | 1.74
10 | 100 | 60 |  | 45.767 | 1.595
11 | 100 | 60 |  | 41.606 | 1.45
12 | 100 | 60 |  | 37.446 | 1.305
13 | 100 | 60 |  | 33.285 | 1.16
14 | 100 | 60 |  | 29.124 | 1.015
15 | 100 | 60 |  | 24.964 | 0.87
16 | 100 | 60 |  | 20.803 | 0.725
17 | 100 | 60 |  | 16.643 | 0.58
18 | 100 | 60 |  | 12.482 | 0.435
19 | 100 | 60 |  | 8.321 | 0.29
20 | 100 | 60 |  | 4.161 | 0.145
21 | 100 | 60 |  | 1.664 | 0.058
22 | 120 | 60 |  | 83.213 | 2.901
23 | 120 | 60 |  | 79.052 | 2.756
24 | 120 | 60 |  | 74.891 | 2.611
25 | 120 | 60 |  | 70.731 | 2.466
26 | 120 | 60 |  | 66.57 | 2.32
27 | 120 | 60 |  | 62.409 | 2.175
28 | 120 | 60 |  | 58.249 | 2.03
29 | 120 | 60 |  | 54.088 | 1.885
30 | 120 | 60 |  | 49.928 | 1.74
31 | 120 | 60 |  | 45.767 | 1.595
32 | 120 | 60 |  | 41.606 | 1.45
33 | 120 | 60 |  | 37.446 | 1.305
34 | 120 | 60 |  | 33.285 | 1.16
35 | 120 | 60 |  | 29.124 | 1.015
36 | 120 | 60 |  | 24.964 | 0.87
37 | 120 | 60 |  | 20.803 | 0.725
38 | 120 | 60 |  | 16.643 | 0.58
39 | 120 | 60 |  | 12.482 | 0.435
40 | 120 | 60 |  | 8.321 | 0.29
41 | 120 | 60 |  | 4.161 | 0.145
42 | 120 | 60 |  | 1.664 | 0.058
43 | 200 | 50 |  | 87.307 | 2.905
44 | 200 | 50 |  | 82.941 | 2.76
45 | 200 | 50 |  | 78.576 | 2.614
46 | 200 | 50 |  | 74.211 | 2.469
47 | 200 | 50 |  | 69.845 | 2.324
48 | 200 | 50 |  | 65.48 | 2.179
49 | 200 | 50 |  | 61.115 | 2.034
50 | 200 | 50 |  | 56.749 | 1.888
51 | 200 | 50 |  | 52.384 | 1.743
52 | 200 | 50 |  | 48.019 | 1.598
53 | 200 | 50 |  | 43.653 | 1.453
54 | 200 | 50 |  | 39.288 | 1.307
55 | 200 | 50 |  | 34.923 | 1.162
56 | 200 | 50 |  | 30.557 | 1.017
57 | 200 | 50 |  | 26.192 | 0.872
58 | 200 | 50 |  | 21.827 | 0.726
59 | 200 | 50 |  | 17.461 | 0.581
60 | 200 | 50 |  | 13.096 | 0.436
61 | 200 | 50 |  | 8.731 | 0.291
62 | 200 | 50 |  | 4.365 | 0.145
63 | 200 | 50 |  | 1.746 | 0.058
64 | 208 | 60 |  | 87.307 | 2.905
65 | 208 | 60 |  | 82.941 | 2.76
66 | 208 | 60 |  | 78.576 | 2.614
67 | 208 | 60 |  | 74.211 | 2.469
68 | 208 | 60 |  | 69.845 | 2.324
69 | 208 | 60 |  | 65.48 | 2.179
70 | 208 | 60 |  | 61.115 | 2.034
71 | 208 | 60 |  | 56.749 | 1.888
72 | 208 | 60 |  | 52.384 | 1.743
73 | 208 | 60 |  | 48.019 | 1.598
74 | 208 | 60 |  | 43.653 | 1.453
75 | 208 | 60 |  | 39.288 | 1.307
76 | 208 | 60 |  | 34.923 | 1.162
77 | 208 | 60 |  | 30.557 | 1.017
78 | 208 | 60 |  | 26.192 | 0.872
79 | 208 | 60 |  | 21.827 | 0.726
80 | 208 | 60 |  | 17.461 | 0.581
81 | 208 | 60 |  | 13.096 | 0.436
82 | 208 | 60 |  | 8.731 | 0.291
83 | 208 | 60 |  | 4.365 | 0.145
84 | 208 | 60 |  | 1.746 | 0.058
85 | 230 | 50 |  | 87.307 | 2.905
86 | 230 | 50 |  | 82.941 | 2.76
87 | 230 | 50 |  | 78.576 | 2.614
88 | 230 | 50 |  | 74.211 | 2.469
89 | 230 | 50 |  | 69.845 | 2.324
90 | 230 | 50 |  | 65.48 | 2.179
91 | 230 | 50 |  | 61.115 | 2.034
92 | 230 | 50 |  | 56.749 | 1.888
93 | 230 | 50 |  | 52.384 | 1.743
94 | 230 | 50 |  | 48.019 | 1.598
95 | 230 | 50 |  | 43.653 | 1.453
96 | 230 | 50 |  | 39.288 | 1.307
97 | 230 | 50 |  | 34.923 | 1.162
98 | 230 | 50 |  | 30.557 | 1.017
99 | 230 | 50 |  | 26.192 | 0.872
100 | 230 | 50 |  | 21.827 | 0.726
101 | 230 | 50 |  | 17.461 | 0.581
102 | 230 | 50 |  | 13.096 | 0.436
103 | 230 | 50 |  | 8.731 | 0.291
104 | 230 | 50 |  | 4.365 | 0.145
105 | 230 | 50 |  | 1.746 | 0.058
106 | 264 | 60 |  | 87.307 | 2.905
107 | 264 | 60 |  | 82.941 | 2.76
108 | 264 | 60 |  | 78.576 | 2.614
109 | 264 | 60 |  | 74.211 | 2.469
110 | 264 | 60 |  | 69.845 | 2.324
111 | 264 | 60 |  | 65.48 | 2.179
112 | 264 | 60 |  | 61.115 | 2.034
113 | 264 | 60 |  | 56.749 | 1.888
114 | 264 | 60 |  | 52.384 | 1.743
115 | 264 | 60 |  | 48.019 | 1.598
116 | 264 | 60 |  | 43.653 | 1.453
117 | 264 | 60 |  | 39.288 | 1.307
118 | 264 | 60 |  | 34.923 | 1.162
119 | 264 | 60 |  | 30.557 | 1.017
120 | 264 | 60 |  | 26.192 | 0.872
121 | 264 | 60 |  | 21.827 | 0.726
122 | 264 | 60 |  | 17.461 | 0.581
123 | 264 | 60 |  | 13.096 | 0.436
124 | 264 | 60 |  | 8.731 | 0.291
125 | 264 | 60 |  | 4.365 | 0.145
126 | 264 | 60 |  | 1.746 | 0.058
127 | 240 | 50 |  | 87.307 | 2.905
128 | 240 | 50 |  | 82.941 | 2.76
129 | 240 | 50 |  | 78.576 | 2.614
130 | 240 | 50 |  | 74.211 | 2.469
131 | 240 | 50 |  | 69.845 | 2.324
132 | 240 | 50 |  | 65.48 | 2.179
133 | 240 | 50 |  | 61.115 | 2.034
134 | 240 | 50 |  | 56.749 | 1.888
135 | 240 | 50 |  | 52.384 | 1.743
136 | 240 | 50 |  | 48.019 | 1.598
137 | 240 | 50 |  | 43.653 | 1.453
138 | 240 | 50 |  | 39.288 | 1.307
139 | 240 | 50 |  | 34.923 | 1.162
140 | 240 | 50 |  | 30.557 | 1.017
141 | 240 | 50 |  | 26.192 | 0.872
142 | 240 | 50 |  | 21.827 | 0.726
143 | 240 | 50 |  | 17.461 | 0.581
144 | 240 | 50 |  | 13.096 | 0.436
145 | 240 | 50 |  | 8.731 | 0.291
146 | 240 | 50 |  | 4.365 | 0.145
147 | 240 | 50 |  | 1.746 | 0.058
148 | 90 | 63 |  | 83.213 | 2.901
149 | 90 | 63 |  | 41.606 | 1.45
150 | 90 | 63 |  | 16.643 | 0.58
151 | 90 | 63 |  | 8.321 | 0.29
152 | 180 | 63 |  | 87.307 | 2.905
153 | 180 | 63 |  | 43.653 | 1.453
154 | 180 | 63 |  | 17.461 | 0.581
155 | 180 | 63 |  | 8.731 | 0.291

## FSQX03-240G_1.2
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  |  | 3 |  |  | 0 | 20 | 40 | 90 | 100 |  | 120 | 120 | 0.1
Description
1 | 230 | 50 |  | 87.307 | 2.905 | [6 empty] | 900 | 900
2 | 230 | 50 |  | 82.941 | 2.76 | [6 empty] | 900 | 900
3 | 230 | 50 |  | 78.576 | 2.614 | [6 empty] | 900 | 900
4 | 230 | 50 |  | 74.211 | 2.469 | [6 empty] | 900 | 900
5 | 230 | 50 |  | 69.845 | 2.324 | [6 empty] | 900 | 900
6 | 230 | 50 |  | 65.48 | 2.179 | [6 empty] | 900 | 900
7 | 230 | 50 |  | 61.115 | 2.034 | [6 empty] | 900 | 900
8 | 230 | 50 |  | 56.749 | 1.888 | [6 empty] | 900 | 900
9 | 230 | 50 |  | 52.384 | 1.743 | [6 empty] | 900 | 900
10 | 230 | 50 |  | 48.019 | 1.598 | [6 empty] | 900 | 900
11 | 230 | 50 |  | 43.653 | 1.453 | [6 empty] | 900 | 900
12 | 230 | 50 |  | 39.288 | 1.307 | [6 empty] | 900 | 900
13 | 230 | 50 |  | 34.923 | 1.162 | [6 empty] | 900 | 900
14 | 230 | 50 |  | 30.557 | 1.017 | [6 empty] | 900 | 900
15 | 230 | 50 |  | 26.192 | 0.872 | [6 empty] | 900 | 900
16 | 230 | 50 |  | 21.827 | 0.726 | [6 empty] | 900 | 900
17 | 230 | 50 |  | 17.461 | 0.581 | [6 empty] | 900 | 900
18 | 230 | 50 |  | 13.096 | 0.436 | [6 empty] | 900 | 900
19 | 230 | 50 |  | 8.731 | 0.291 | [6 empty] | 900 | 900
20 | 230 | 50 |  | 4.365 | 0.145 | [6 empty] | 900 | 900
21 | 230 | 50 |  | 1.746 | 0.058 | [6 empty] | 900 | 900

## FSQX03-240G_1.3
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  |  | 3 |  |  | 0 | 20 | 40 | 90 | 100 |  | 600 | 600 | 0.1
Description
1 | 310 | 0 |  | 87.3066 | 2.9049
2 | 310 | 0 |  | 43.6533 | 1.4525
3 | 310 | 0 |  | 17.4613 | 0.581
4 | 310 | 0 |  | 8.7307 | 0.2905
5 | 310 | 0 |  | 4.3653 | 0.1452
6 | 310 | 0 |  | 1.7461 | 0.0581
7 | 240 | 0 |  | 87.3066 | 2.9049
8 | 240 | 0 |  | 43.6533 | 1.4525
9 | 240 | 0 |  | 17.4613 | 0.581
10 | 240 | 0 |  | 8.7307 | 0.2905
11 | 240 | 0 |  | 4.3653 | 0.1452
12 | 240 | 0 |  | 1.7461 | 0.0581
13 | 192 | 0 |  | 87.3066 | 2.9049
14 | 192 | 0 |  | 43.6533 | 1.4525
15 | 192 | 0 |  | 17.4613 | 0.581
16 | 192 | 0 |  | 8.7307 | 0.2905
17 | 192 | 0 |  | 4.3653 | 0.1452
18 | 192 | 0 |  | 1.7461 | 0.0581

## FSR005
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec |  | Vin_Adjustment_Ratio
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  | 0 | 3 |  |  | 0 | 20 | 40 | 90 | 100 |  | 300 | 60 | 0.02 | 0.2
Description
| 40 |  |  | 103.61 | 3 | [6 empty] | 900 |  |  |  | 103.61 | 1
| 40 |  |  | 98.4295 | 2.85 | [6 empty] | 900 |  |  |  |  | 0.95
| 40 |  |  | 93.249 | 2.7 | [6 empty] | 900 |  |  |  |  | 0.9
| 40 |  |  | 88.0685 | 2.55 | [6 empty] | 900 |  |  |  |  | 0.85
| 40 |  |  | 82.888 | 2.4 | [6 empty] | 900 |  |  |  |  | 0.8
| 40 |  |  | 77.7075 | 2.25 | [6 empty] | 900 |  |  |  |  | 0.75
| 40 |  |  | 72.527 | 2.1 | [6 empty] | 900 |  |  |  |  | 0.7
| 40 |  |  | 67.3465 | 1.95 | [6 empty] | 900 |  |  |  |  | 0.65
| 40 |  |  | 62.166 | 1.8 | [6 empty] | 900 |  |  |  |  | 0.6
| 40 |  |  | 56.9855 | 1.65 | [6 empty] | 900 |  |  |  |  | 0.55
| 40 |  |  | 51.805 | 1.5 | [6 empty] | 900 |  |  |  |  | 0.5
| 40 |  |  | 46.6245 | 1.35 | [6 empty] | 900 |  |  |  |  | 0.45
| 40 |  |  | 41.444 | 1.2 | [6 empty] | 900 |  |  |  |  | 0.4
| 40 |  |  | 36.2635 | 1.05 | [6 empty] | 900 |  |  |  |  | 0.35
| 40 |  |  | 31.083 | 0.9 | [6 empty] | 900 |  |  |  |  | 0.3
| 40 |  |  | 25.9025 | 0.75 | [6 empty] | 900 |  |  |  |  | 0.25
| 40 |  |  | 20.722 | 0.6 | [6 empty] | 900 |  |  |  |  | 0.2
| 40 |  |  | 15.5415 | 0.45 | [6 empty] | 900 |  |  |  |  | 0.15
| 40 |  |  | 10.361 | 0.3 | [6 empty] | 900 |  |  |  |  | 0.1
| 40 |  |  | 5.1805 | 0.15 | [6 empty] | 900 |  |  |  |  | 0.05
| 48 |  |  | 103.61 | 3 | [6 empty] | 1200 |  |  |  |  | 1
| 48 |  |  | 98.4295 | 2.85 | [6 empty] | 300 |  |  |  |  | 0.95
| 48 |  |  | 93.249 | 2.7 | [6 empty] | 300 |  |  |  |  | 0.9
| 48 |  |  | 88.0685 | 2.55 | [6 empty] | 300 |  |  |  |  | 0.85
| 48 |  |  | 82.888 | 2.4 | [6 empty] | 300 |  |  |  |  | 0.8
| 48 |  |  | 77.7075 | 2.25 | [6 empty] | 300 |  |  |  |  | 0.75
| 48 |  |  | 72.527 | 2.1 | [6 empty] | 300 |  |  |  |  | 0.7
| 48 |  |  | 67.3465 | 1.95 | [6 empty] | 300 |  |  |  |  | 0.65
| 48 |  |  | 62.166 | 1.8 | [6 empty] | 300 |  |  |  |  | 0.6
| 48 |  |  | 56.9855 | 1.65 | [6 empty] | 300 |  |  |  |  | 0.55
| 48 |  |  | 51.805 | 1.5 | [6 empty] | 300 |  |  |  |  | 0.5
| 48 |  |  | 46.6245 | 1.35 | [6 empty] | 300 |  |  |  |  | 0.45
| 48 |  |  | 41.444 | 1.2 | [6 empty] | 300 |  |  |  |  | 0.4
| 48 |  |  | 36.2635 | 1.05 | [6 empty] | 300 |  |  |  |  | 0.35
| 48 |  |  | 31.083 | 0.9 | [6 empty] | 300 |  |  |  |  | 0.3
| 48 |  |  | 25.9025 | 0.75 | [6 empty] | 300 |  |  |  |  | 0.25
| 48 |  |  | 20.722 | 0.6 | [6 empty] | 300 |  |  |  |  | 0.2
| 48 |  |  | 15.5415 | 0.45 | [6 empty] | 300 |  |  |  |  | 0.15
| 48 |  |  | 10.361 | 0.3 | [6 empty] | 300 |  |  |  |  | 0.1
| 48 |  |  | 5.1805 | 0.15 | [6 empty] | 300 |  |  |  |  | 0.05

## FSQ013-GQ0G
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  | 0 | 3 |  |  | 0 | 20 | 40 | 90 | 100 |  | 300 | 60 | 0.1
Description
| 40 |  |  | 79.02 | 3 | [6 empty] | 900 |  |  | 1
| 40 |  |  | 75.069 | 2.85 | [9 empty] | 0.95
| 40 |  |  | 71.118 | 2.7 | [9 empty] | 0.9
| 40 |  |  | 67.167 | 2.55 | [9 empty] | 0.85
| 40 |  |  | 63.216 | 2.4 | [9 empty] | 0.8
| 40 |  |  | 59.265 | 2.25 | [9 empty] | 0.75
| 40 |  |  | 55.314 | 2.1 | [9 empty] | 0.7
| 40 |  |  | 51.363 | 1.95 | [9 empty] | 0.65
| 40 |  |  | 47.412 | 1.8 | [9 empty] | 0.6
| 40 |  |  | 43.461 | 1.65 | [9 empty] | 0.55
| 40 |  |  | 39.51 | 1.5 | [9 empty] | 0.5
| 40 |  |  | 35.559 | 1.35 | [9 empty] | 0.45
| 40 |  |  | 31.608 | 1.2 | [9 empty] | 0.4
| 40 |  |  | 27.657 | 1.05 | [9 empty] | 0.35
| 40 |  |  | 23.706 | 0.9 | [9 empty] | 0.3
| 40 |  |  | 19.755 | 0.75 | [9 empty] | 0.25
| 40 |  |  | 15.804 | 0.6 | [9 empty] | 0.2
| 40 |  |  | 11.853 | 0.45 | [9 empty] | 0.15
| 40 |  |  | 7.902 | 0.3 | [9 empty] | 0.1
| 40 |  |  | 3.951 | 0.15 | [9 empty] | 0.05
| 48 |  |  | 79.02 | 3 | [6 empty] | 900
| 48 |  |  | 75.069 | 2.85
| 48 |  |  | 71.118 | 2.7
| 48 |  |  | 67.167 | 2.55
| 48 |  |  | 63.216 | 2.4
| 48 |  |  | 59.265 | 2.25
| 48 |  |  | 55.314 | 2.1
| 48 |  |  | 51.363 | 1.95
| 48 |  |  | 47.412 | 1.8
| 48 |  |  | 43.461 | 1.65
| 48 |  |  | 39.51 | 1.5
| 48 |  |  | 35.559 | 1.35
| 48 |  |  | 31.608 | 1.2
| 48 |  |  | 27.657 | 1.05
| 48 |  |  | 23.706 | 0.9
| 48 |  |  | 19.755 | 0.75
| 48 |  |  | 15.804 | 0.6
| 48 |  |  | 11.853 | 0.45
| 48 |  |  | 7.902 | 0.3
| 48 |  |  | 3.951 | 0.15
| 72 |  |  | 79.02 | 3 | [6 empty] | 900
| 72 |  |  | 75.069 | 2.85
| 72 |  |  | 71.118 | 2.7
| 72 |  |  | 67.167 | 2.55
| 72 |  |  | 63.216 | 2.4
| 72 |  |  | 59.265 | 2.25
| 72 |  |  | 55.314 | 2.1
| 72 |  |  | 51.363 | 1.95
| 72 |  |  | 47.412 | 1.8
| 72 |  |  | 43.461 | 1.65
| 72 |  |  | 39.51 | 1.5
| 72 |  |  | 35.559 | 1.35
| 72 |  |  | 31.608 | 1.2
| 72 |  |  | 27.657 | 1.05
| 72 |  |  | 23.706 | 0.9
| 72 |  |  | 19.755 | 0.75
| 72 |  |  | 15.804 | 0.6
| 72 |  |  | 11.853 | 0.45
| 72 |  |  | 7.902 | 0.3
| 72 |  |  | 3.951 | 0.15

## FSQ015-000G
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  |  | 3 |  |  | 0 | 20 | 40 | 90 | 100 |  | 900 | 900 | 0.1
Description
| 230 | 60 |  | 21.8 | 0.29646 |  |  |  | 89.8 | 90.2
| 230 | 60 |  | 43.6 | 0.6 |  |  |  | 93.8 | 94.2
| 230 | 60 |  | 109 | 1.5 |  |  |  | 95.8 | 96.2
| 230 | 60 |  | 218 | 3 |  |  |  | 90.8 | 91.2

## FSQ012-GQ0G
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  | 0 | 3 |  |  | 0 | 20 | 40 | 90 | 100 |  | 300 | 60 | 0.1
Description
| 115 | 47 |  | 73.77 | 3 | [6 empty] | 900 | 180 |  | 1 | 73.77
| 115 | 47 |  | 70.0815 | 2.85 | [7 empty] | 180 |  | 0.95 | 73.77
| 115 | 47 |  | 66.393 | 2.7 | [7 empty] | 180 |  | 0.9 | 73.77
| 115 | 47 |  | 62.7045 | 2.55 | [7 empty] | 180 |  | 0.85 | 73.77
| 115 | 47 |  | 59.016 | 2.4 | [7 empty] | 180 |  | 0.8 | 73.77
| 115 | 47 |  | 55.3275 | 2.25 | [7 empty] | 180 |  | 0.75 | 73.77
| 115 | 47 |  | 51.639 | 2.1 | [7 empty] | 180 |  | 0.7 | 73.77
| 115 | 47 |  | 47.9505 | 1.95 | [7 empty] | 180 |  | 0.65 | 73.77
| 115 | 47 |  | 44.262 | 1.8 | [7 empty] | 180 |  | 0.6 | 73.77
| 115 | 47 |  | 40.5735 | 1.65 | [7 empty] | 180 |  | 0.55 | 73.77
| 115 | 47 |  | 36.885 | 1.5 | [7 empty] | 180 |  | 0.5 | 73.77
| 115 | 47 |  | 33.1965 | 1.35 | [7 empty] | 180 |  | 0.45 | 73.77
| 115 | 47 |  | 29.508 | 1.2 | [7 empty] | 180 |  | 0.4 | 73.77
| 115 | 47 |  | 25.8195 | 1.05 | [7 empty] | 180 |  | 0.35 | 73.77
| 115 | 47 |  | 22.131 | 0.9 | [7 empty] | 180 |  | 0.3 | 73.77
| 115 | 47 |  | 18.4425 | 0.75 | [7 empty] | 180 |  | 0.25 | 73.77
| 115 | 47 |  | 14.754 | 0.6 | [7 empty] | 180 |  | 0.2 | 73.77
| 115 | 47 |  | 11.0655 | 0.45 | [7 empty] | 180 |  | 0.15 | 73.77
| 115 | 47 |  | 7.377 | 0.3 | [7 empty] | 180 |  | 0.1 | 73.77
| 115 | 47 |  | 3.6885 | 0.15 | [7 empty] | 180 |  | 0.05 | 73.77
| 230 | 60 |  | 106.56 | 3 | [6 empty] | 900 | 180 |  | 1 | 106.56
| 230 | 60 |  | 101.232 | 2.85 | [7 empty] | 180 |  | 0.95 | 106.56
| 230 | 60 |  | 95.904 | 2.7 | [7 empty] | 180 |  | 0.9 | 106.56
| 230 | 60 |  | 90.576 | 2.55 | [7 empty] | 180 |  | 0.85 | 106.56
| 230 | 60 |  | 85.248 | 2.4 | [7 empty] | 180 |  | 0.8 | 106.56
| 230 | 60 |  | 79.92 | 2.25 | [7 empty] | 180 |  | 0.75 | 106.56
| 230 | 60 |  | 74.592 | 2.1 | [7 empty] | 180 |  | 0.7 | 106.56
| 230 | 60 |  | 69.264 | 1.95 | [7 empty] | 180 |  | 0.65 | 106.56
| 230 | 60 |  | 63.936 | 1.8 | [7 empty] | 180 |  | 0.6 | 106.56
| 230 | 60 |  | 58.608 | 1.65 | [7 empty] | 180 |  | 0.55 | 106.56
| 230 | 60 |  | 53.28 | 1.5 | [7 empty] | 180 |  | 0.5 | 106.56
| 230 | 60 |  | 47.952 | 1.35 | [7 empty] | 180 |  | 0.45 | 106.56
| 230 | 60 |  | 42.624 | 1.2 | [7 empty] | 180 |  | 0.4 | 106.56
| 230 | 60 |  | 37.296 | 1.05 | [7 empty] | 180 |  | 0.35 | 106.56
| 230 | 60 |  | 31.968 | 0.9 | [7 empty] | 180 |  | 0.3 | 106.56
| 230 | 60 |  | 26.64 | 0.75 | [7 empty] | 180 |  | 0.25 | 106.56
| 230 | 60 |  | 21.312 | 0.6 | [7 empty] | 180 |  | 0.2 | 106.56
| 230 | 60 |  | 15.984 | 0.45 | [7 empty] | 180 |  | 0.15 | 106.56
| 230 | 60 |  | 10.656 | 0.3 | [7 empty] | 180 |  | 0.1 | 106.56
| 230 | 60 |  | 5.328 | 0.15 | [7 empty] | 180 |  | 0.05 | 106.56
| 240 | 0 |  | 106.56 | 3 | [6 empty] | 900 | 180 |  | 1 | 106.56
| 240 | 0 |  | 101.232 | 2.85 | [7 empty] | 180 |  | 0.95 | 106.56
| 240 | 0 |  | 95.904 | 2.7 | [7 empty] | 180 |  | 0.9 | 106.56
| 240 | 0 |  | 90.576 | 2.55 | [7 empty] | 180 |  | 0.85 | 106.56
| 240 | 0 |  | 85.248 | 2.4 | [7 empty] | 180 |  | 0.8 | 106.56
| 240 | 0 |  | 79.92 | 2.25 | [7 empty] | 180 |  | 0.75 | 106.56
| 240 | 0 |  | 74.592 | 2.1 | [7 empty] | 180 |  | 0.7 | 106.56
| 240 | 0 |  | 69.264 | 1.95 | [7 empty] | 180 |  | 0.65 | 106.56
| 240 | 0 |  | 63.936 | 1.8 | [7 empty] | 180 |  | 0.6 | 106.56
| 240 | 0 |  | 58.608 | 1.65 | [7 empty] | 180 |  | 0.55 | 106.56
| 240 | 0 |  | 53.28 | 1.5 | [7 empty] | 180 |  | 0.5 | 106.56
| 240 | 0 |  | 47.952 | 1.35 | [7 empty] | 180 |  | 0.45 | 106.56
| 240 | 0 |  | 42.624 | 1.2 | [7 empty] | 180 |  | 0.4 | 106.56
| 240 | 0 |  | 37.296 | 1.05 | [7 empty] | 180 |  | 0.35 | 106.56
| 240 | 0 |  | 31.968 | 0.9 | [7 empty] | 180 |  | 0.3 | 106.56
| 240 | 0 |  | 26.64 | 0.75 | [7 empty] | 180 |  | 0.25 | 106.56
| 240 | 0 |  | 21.312 | 0.6 | [7 empty] | 180 |  | 0.2 | 106.56
| 240 | 0 |  | 15.984 | 0.45 | [7 empty] | 180 |  | 0.15 | 106.56
| 240 | 0 |  | 10.656 | 0.3 | [7 empty] | 180 |  | 0.1 | 106.56
| 240 | 0 |  | 5.328 | 0.15 | [7 empty] | 180 |  | 0.05 | 106.56

## FSQ012-GQ0G-PF
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  | 0 | 3 |  |  | 0 | 20 | 40 | 90 | 100 |  | 30 | 60 | 0.1
Description
1 | 208 | 60 |  | 1 | 0 | [9 empty] | 0 | 103.55
2 | 208 | 60 |  | 5.1775 | 0.15 | [9 empty] | 0.05 | 103.55
3 | 208 | 60 |  | 10.355 | 0.3 | [9 empty] | 0.1 | 103.55
4 | 208 | 60 |  | 15.5325 | 0.45 | [9 empty] | 0.15 | 103.55
5 | 208 | 60 |  | 20.71 | 0.6 | [9 empty] | 0.2 | 103.55
6 | 208 | 60 |  | 25.8875 | 0.75 | [9 empty] | 0.25 | 103.55
7 | 208 | 60 |  | 31.065 | 0.9 | [9 empty] | 0.3 | 103.55
8 | 208 | 60 |  | 36.2425 | 1.05 | [9 empty] | 0.35 | 103.55
9 | 208 | 60 |  | 41.42 | 1.2 | [9 empty] | 0.4 | 103.55
10 | 208 | 60 |  | 46.5975 | 1.35 | [9 empty] | 0.45 | 103.55
11 | 208 | 60 |  | 51.775 | 1.5 | [9 empty] | 0.5 | 103.55
12 | 208 | 60 |  | 56.9525 | 1.65 | [9 empty] | 0.55 | 103.55
13 | 208 | 60 |  | 62.13 | 1.8 | [9 empty] | 0.6 | 103.55
14 | 208 | 60 |  | 67.3075 | 1.95 | [9 empty] | 0.65 | 103.55
15 | 208 | 60 |  | 72.485 | 2.1 | [9 empty] | 0.7 | 103.55
16 | 208 | 60 |  | 77.6625 | 2.25 | [9 empty] | 0.75 | 103.55
17 | 208 | 60 |  | 82.84 | 2.4 | [9 empty] | 0.8 | 103.55
18 | 208 | 60 |  | 88.0175 | 2.55 | [9 empty] | 0.85 | 103.55
19 | 208 | 60 |  | 93.195 | 2.7 | [9 empty] | 0.9 | 103.55
20 | 208 | 60 |  | 98.3725 | 2.85 | [9 empty] | 0.95 | 103.55
21 | 208 | 60 |  | 103.55 | 3 | [9 empty] | 1 | 103.55
22 | 230 | 60 |  | 0 | 0 | [9 empty] | 0 | 103.55
23 | 230 | 60 |  | 5.1775 | 0.15 | [9 empty] | 0.05 | 103.55
24 | 230 | 60 |  | 10.355 | 0.3 | [9 empty] | 0.1 | 103.55
25 | 230 | 60 |  | 15.5325 | 0.45 | [9 empty] | 0.15 | 103.55
26 | 230 | 60 |  | 20.71 | 0.6 | [9 empty] | 0.2 | 103.55
27 | 230 | 60 |  | 25.8875 | 0.75 | [9 empty] | 0.25 | 103.55
28 | 230 | 60 |  | 31.065 | 0.9 | [9 empty] | 0.3 | 103.55
29 | 230 | 60 |  | 36.2425 | 1.05 | [9 empty] | 0.35 | 103.55
30 | 230 | 60 |  | 41.42 | 1.2 | [9 empty] | 0.4 | 103.55
31 | 230 | 60 |  | 46.5975 | 1.35 | [9 empty] | 0.45 | 103.55
32 | 230 | 60 |  | 51.775 | 1.5 | [9 empty] | 0.5 | 103.55
33 | 230 | 60 |  | 56.9525 | 1.65 | [9 empty] | 0.55 | 103.55
34 | 230 | 60 |  | 62.13 | 1.8 | [9 empty] | 0.6 | 103.55
35 | 230 | 60 |  | 67.3075 | 1.95 | [9 empty] | 0.65 | 103.55
36 | 230 | 60 |  | 72.485 | 2.1 | [9 empty] | 0.7 | 103.55
37 | 230 | 60 |  | 77.6625 | 2.25 | [9 empty] | 0.75 | 103.55
38 | 230 | 60 |  | 82.84 | 2.4 | [9 empty] | 0.8 | 103.55
39 | 230 | 60 |  | 88.0175 | 2.55 | [9 empty] | 0.85 | 103.55
40 | 230 | 60 |  | 93.195 | 2.7 | [9 empty] | 0.9 | 103.55
41 | 230 | 60 |  | 98.3725 | 2.85 | [9 empty] | 0.95 | 103.55
42 | 230 | 60 |  | 103.55 | 3 | [9 empty] | 1 | 103.55
43 | 240 | 60 |  | 0 | 0 | [9 empty] | 0 | 103.55
44 | 240 | 60 |  | 5.1775 | 0.15 | [9 empty] | 0.05 | 103.55
45 | 240 | 60 |  | 10.355 | 0.3 | [9 empty] | 0.1 | 103.55
46 | 240 | 60 |  | 15.5325 | 0.45 | [9 empty] | 0.15 | 103.55
47 | 240 | 60 |  | 20.71 | 0.6 | [9 empty] | 0.2 | 103.55
48 | 240 | 60 |  | 25.8875 | 0.75 | [9 empty] | 0.25 | 103.55
49 | 240 | 60 |  | 31.065 | 0.9 | [9 empty] | 0.3 | 103.55
50 | 240 | 60 |  | 36.2425 | 1.05 | [9 empty] | 0.35 | 103.55
51 | 240 | 60 |  | 41.42 | 1.2 | [9 empty] | 0.4 | 103.55
52 | 240 | 60 |  | 46.5975 | 1.35 | [9 empty] | 0.45 | 103.55
53 | 240 | 60 |  | 51.775 | 1.5 | [9 empty] | 0.5 | 103.55
54 | 240 | 60 |  | 56.9525 | 1.65 | [9 empty] | 0.55 | 103.55
55 | 240 | 60 |  | 62.13 | 1.8 | [9 empty] | 0.6 | 103.55
56 | 240 | 60 |  | 67.3075 | 1.95 | [9 empty] | 0.65 | 103.55
57 | 240 | 60 |  | 72.485 | 2.1 | [9 empty] | 0.7 | 103.55
58 | 240 | 60 |  | 77.6625 | 2.25 | [9 empty] | 0.75 | 103.55
59 | 240 | 60 |  | 82.84 | 2.4 | [9 empty] | 0.8 | 103.55
60 | 240 | 60 |  | 88.0175 | 2.55 | [9 empty] | 0.85 | 103.55
61 | 240 | 60 |  | 93.195 | 2.7 | [9 empty] | 0.9 | 103.55
62 | 240 | 60 |  | 98.3725 | 2.85 | [9 empty] | 0.95 | 103.55
63 | 240 | 60 |  | 103.55 | 3 | [9 empty] | 1 | 103.55
64 | 100 | 60 |  | 0 | 0 | [9 empty] | 0 | 70.82
65 | 100 | 60 |  | 3.541 | 0.15 | [9 empty] | 0.05 | 70.82
66 | 100 | 60 |  | 7.082 | 0.3 | [9 empty] | 0.1 | 70.82
67 | 100 | 60 |  | 10.623 | 0.45 | [9 empty] | 0.15 | 70.82
68 | 100 | 60 |  | 14.164 | 0.6 | [9 empty] | 0.2 | 70.82
69 | 100 | 60 |  | 17.705 | 0.75 | [9 empty] | 0.25 | 70.82
70 | 100 | 60 |  | 21.246 | 0.9 | [9 empty] | 0.3 | 70.82
71 | 100 | 60 |  | 24.787 | 1.05 | [9 empty] | 0.35 | 70.82
72 | 100 | 60 |  | 28.328 | 1.2 | [9 empty] | 0.4 | 70.82
73 | 100 | 60 |  | 31.869 | 1.35 | [9 empty] | 0.45 | 70.82
74 | 100 | 60 |  | 35.41 | 1.5 | [9 empty] | 0.5 | 70.82
75 | 100 | 60 |  | 38.951 | 1.65 | [9 empty] | 0.55 | 70.82
76 | 100 | 60 |  | 42.492 | 1.8 | [9 empty] | 0.6 | 70.82
77 | 100 | 60 |  | 46.033 | 1.95 | [9 empty] | 0.65 | 70.82
78 | 100 | 60 |  | 49.574 | 2.1 | [9 empty] | 0.7 | 70.82
79 | 100 | 60 |  | 53.115 | 2.25 | [9 empty] | 0.75 | 70.82
80 | 100 | 60 |  | 56.656 | 2.4 | [9 empty] | 0.8 | 70.82
81 | 100 | 60 |  | 60.197 | 2.55 | [9 empty] | 0.85 | 70.82
82 | 100 | 60 |  | 63.738 | 2.7 | [9 empty] | 0.9 | 70.82
83 | 100 | 60 |  | 67.279 | 2.85 | [9 empty] | 0.95 | 70.82
84 | 100 | 60 |  | 70.82 | 3 | [9 empty] | 1 | 70.82
85 | 120 | 60 |  | 0 | 0 | [9 empty] | 0 | 70.82
86 | 120 | 60 |  | 3.541 | 0.15 | [9 empty] | 0.05 | 70.82
87 | 120 | 60 |  | 7.082 | 0.3 | [9 empty] | 0.1 | 70.82
88 | 120 | 60 |  | 10.623 | 0.45 | [9 empty] | 0.15 | 70.82
89 | 120 | 60 |  | 14.164 | 0.6 | [9 empty] | 0.2 | 70.82
90 | 120 | 60 |  | 17.705 | 0.75 | [9 empty] | 0.25 | 70.82
91 | 120 | 60 |  | 21.246 | 0.9 | [9 empty] | 0.3 | 70.82
92 | 120 | 60 |  | 24.787 | 1.05 | [9 empty] | 0.35 | 70.82
93 | 120 | 60 |  | 28.328 | 1.2 | [9 empty] | 0.4 | 70.82
94 | 120 | 60 |  | 31.869 | 1.35 | [9 empty] | 0.45 | 70.82
95 | 120 | 60 |  | 35.41 | 1.5 | [9 empty] | 0.5 | 70.82
96 | 120 | 60 |  | 38.951 | 1.65 | [9 empty] | 0.55 | 70.82
97 | 120 | 60 |  | 42.492 | 1.8 | [9 empty] | 0.6 | 70.82
98 | 120 | 60 |  | 46.033 | 1.95 | [9 empty] | 0.65 | 70.82
99 | 120 | 60 |  | 49.574 | 2.1 | [9 empty] | 0.7 | 70.82
100 | 120 | 60 |  | 53.115 | 2.25 | [9 empty] | 0.75 | 70.82
101 | 120 | 60 |  | 56.656 | 2.4 | [9 empty] | 0.8 | 70.82
102 | 120 | 60 |  | 60.197 | 2.55 | [9 empty] | 0.85 | 70.82
103 | 120 | 60 |  | 63.738 | 2.7 | [9 empty] | 0.9 | 70.82
104 | 120 | 60 |  | 67.279 | 2.85 | [9 empty] | 0.95 | 70.82
105 | 120 | 60 |  | 70.82 | 3 | [9 empty] | 1 | 70.82
106 | 208 | 50 |  | 1 | 0 | [9 empty] | 0 | 103.55
107 | 208 | 50 |  | 5.1775 | 0.15 | [9 empty] | 0.05 | 103.55
108 | 208 | 50 |  | 10.355 | 0.3 | [9 empty] | 0.1 | 103.55
109 | 208 | 50 |  | 15.5325 | 0.45 | [9 empty] | 0.15 | 103.55
110 | 208 | 50 |  | 20.71 | 0.6 | [9 empty] | 0.2 | 103.55
111 | 208 | 50 |  | 25.8875 | 0.75 | [9 empty] | 0.25 | 103.55
112 | 208 | 50 |  | 31.065 | 0.9 | [9 empty] | 0.3 | 103.55
113 | 208 | 50 |  | 36.2425 | 1.05 | [9 empty] | 0.35 | 103.55
114 | 208 | 50 |  | 41.42 | 1.2 | [9 empty] | 0.4 | 103.55
115 | 208 | 50 |  | 46.5975 | 1.35 | [9 empty] | 0.45 | 103.55
116 | 208 | 50 |  | 51.775 | 1.5 | [9 empty] | 0.5 | 103.55
117 | 208 | 50 |  | 56.9525 | 1.65 | [9 empty] | 0.55 | 103.55
118 | 208 | 50 |  | 62.13 | 1.8 | [9 empty] | 0.6 | 103.55
119 | 208 | 50 |  | 67.3075 | 1.95 | [9 empty] | 0.65 | 103.55
120 | 208 | 50 |  | 72.485 | 2.1 | [9 empty] | 0.7 | 103.55
121 | 208 | 50 |  | 77.6625 | 2.25 | [9 empty] | 0.75 | 103.55
122 | 208 | 50 |  | 82.84 | 2.4 | [9 empty] | 0.8 | 103.55
123 | 208 | 50 |  | 88.0175 | 2.55 | [9 empty] | 0.85 | 103.55
124 | 208 | 50 |  | 93.195 | 2.7 | [9 empty] | 0.9 | 103.55
125 | 208 | 50 |  | 98.3725 | 2.85 | [9 empty] | 0.95 | 103.55
126 | 208 | 50 |  | 103.55 | 3 | [9 empty] | 1 | 103.55
127 | 230 | 50 |  | 1 | 0 | [9 empty] | 0 | 103.55
128 | 230 | 50 |  | 5.1775 | 0.15 | [9 empty] | 0.05 | 103.55
129 | 230 | 50 |  | 10.355 | 0.3 | [9 empty] | 0.1 | 103.55
130 | 230 | 50 |  | 15.5325 | 0.45 | [9 empty] | 0.15 | 103.55
131 | 230 | 50 |  | 20.71 | 0.6 | [9 empty] | 0.2 | 103.55
132 | 230 | 50 |  | 25.8875 | 0.75 | [9 empty] | 0.25 | 103.55
133 | 230 | 50 |  | 31.065 | 0.9 | [9 empty] | 0.3 | 103.55
134 | 230 | 50 |  | 36.2425 | 1.05 | [9 empty] | 0.35 | 103.55
135 | 230 | 50 |  | 41.42 | 1.2 | [9 empty] | 0.4 | 103.55
136 | 230 | 50 |  | 46.5975 | 1.35 | [9 empty] | 0.45 | 103.55
137 | 230 | 50 |  | 51.775 | 1.5 | [9 empty] | 0.5 | 103.55
138 | 230 | 50 |  | 56.9525 | 1.65 | [9 empty] | 0.55 | 103.55
139 | 230 | 50 |  | 62.13 | 1.8 | [9 empty] | 0.6 | 103.55
140 | 230 | 50 |  | 67.3075 | 1.95 | [9 empty] | 0.65 | 103.55
141 | 230 | 50 |  | 72.485 | 2.1 | [9 empty] | 0.7 | 103.55
142 | 230 | 50 |  | 77.6625 | 2.25 | [9 empty] | 0.75 | 103.55
143 | 230 | 50 |  | 82.84 | 2.4 | [9 empty] | 0.8 | 103.55
144 | 230 | 50 |  | 88.0175 | 2.55 | [9 empty] | 0.85 | 103.55
145 | 230 | 50 |  | 93.195 | 2.7 | [9 empty] | 0.9 | 103.55
146 | 230 | 50 |  | 98.3725 | 2.85 | [9 empty] | 0.95 | 103.55
147 | 230 | 50 |  | 103.55 | 3 | [9 empty] | 1 | 103.55
148 | 240 | 50 |  | 1 | 0 | [9 empty] | 0 | 103.55
149 | 240 | 50 |  | 5.1775 | 0.15 | [9 empty] | 0.05 | 103.55
150 | 240 | 50 |  | 10.355 | 0.3 | [9 empty] | 0.1 | 103.55
151 | 240 | 50 |  | 15.5325 | 0.45 | [9 empty] | 0.15 | 103.55
152 | 240 | 50 |  | 20.71 | 0.6 | [9 empty] | 0.2 | 103.55
153 | 240 | 50 |  | 25.8875 | 0.75 | [9 empty] | 0.25 | 103.55
154 | 240 | 50 |  | 31.065 | 0.9 | [9 empty] | 0.3 | 103.55
155 | 240 | 50 |  | 36.2425 | 1.05 | [9 empty] | 0.35 | 103.55
156 | 240 | 50 |  | 41.42 | 1.2 | [9 empty] | 0.4 | 103.55
157 | 240 | 50 |  | 46.5975 | 1.35 | [9 empty] | 0.45 | 103.55
158 | 240 | 50 |  | 51.775 | 1.5 | [9 empty] | 0.5 | 103.55
159 | 240 | 50 |  | 56.9525 | 1.65 | [9 empty] | 0.55 | 103.55
160 | 240 | 50 |  | 62.13 | 1.8 | [9 empty] | 0.6 | 103.55
161 | 240 | 50 |  | 67.3075 | 1.95 | [9 empty] | 0.65 | 103.55
162 | 240 | 50 |  | 72.485 | 2.1 | [9 empty] | 0.7 | 103.55
163 | 240 | 50 |  | 77.6625 | 2.25 | [9 empty] | 0.75 | 103.55
164 | 240 | 50 |  | 82.84 | 2.4 | [9 empty] | 0.8 | 103.55
165 | 240 | 50 |  | 88.0175 | 2.55 | [9 empty] | 0.85 | 103.55
166 | 240 | 50 |  | 93.195 | 2.7 | [9 empty] | 0.9 | 103.55
167 | 240 | 50 |  | 98.3725 | 2.85 | [9 empty] | 0.95 | 103.55
168 | 240 | 50 |  | 103.55 | 3 | [9 empty] | 1 | 103.55
169 | 100 | 50 |  | 0 | 0 | [9 empty] | 0 | 70.82
170 | 100 | 50 |  | 3.541 | 0.15 | [9 empty] | 0.05 | 70.82
171 | 100 | 50 |  | 7.082 | 0.3 | [9 empty] | 0.1 | 70.82
172 | 100 | 50 |  | 10.623 | 0.45 | [9 empty] | 0.15 | 70.82
173 | 100 | 50 |  | 14.164 | 0.6 | [9 empty] | 0.2 | 70.82
174 | 100 | 50 |  | 17.705 | 0.75 | [9 empty] | 0.25 | 70.82
175 | 100 | 50 |  | 21.246 | 0.9 | [9 empty] | 0.3 | 70.82
176 | 100 | 50 |  | 24.787 | 1.05 | [9 empty] | 0.35 | 70.82
177 | 100 | 50 |  | 28.328 | 1.2 | [9 empty] | 0.4 | 70.82
178 | 100 | 50 |  | 31.869 | 1.35 | [9 empty] | 0.45 | 70.82
179 | 100 | 50 |  | 35.41 | 1.5 | [9 empty] | 0.5 | 70.82
180 | 100 | 50 |  | 38.951 | 1.65 | [9 empty] | 0.55 | 70.82
181 | 100 | 50 |  | 42.492 | 1.8 | [9 empty] | 0.6 | 70.82
182 | 100 | 50 |  | 46.033 | 1.95 | [9 empty] | 0.65 | 70.82
183 | 100 | 50 |  | 49.574 | 2.1 | [9 empty] | 0.7 | 70.82
184 | 100 | 50 |  | 53.115 | 2.25 | [9 empty] | 0.75 | 70.82
185 | 100 | 50 |  | 56.656 | 2.4 | [9 empty] | 0.8 | 70.82
186 | 100 | 50 |  | 60.197 | 2.55 | [9 empty] | 0.85 | 70.82
187 | 100 | 50 |  | 63.738 | 2.7 | [9 empty] | 0.9 | 70.82
188 | 100 | 50 |  | 67.279 | 2.85 | [9 empty] | 0.95 | 70.82
189 | 100 | 50 |  | 70.82 | 3 | [9 empty] | 1 | 70.82
190 | 120 | 50 |  | 0 | 0 | [9 empty] | 0 | 70.82
191 | 120 | 50 |  | 3.541 | 0.15 | [9 empty] | 0.05 | 70.82
192 | 120 | 50 |  | 7.082 | 0.3 | [9 empty] | 0.1 | 70.82
193 | 120 | 50 |  | 10.623 | 0.45 | [9 empty] | 0.15 | 70.82
194 | 120 | 50 |  | 14.164 | 0.6 | [9 empty] | 0.2 | 70.82
195 | 120 | 50 |  | 17.705 | 0.75 | [9 empty] | 0.25 | 70.82
196 | 120 | 50 |  | 21.246 | 0.9 | [9 empty] | 0.3 | 70.82
197 | 120 | 50 |  | 24.787 | 1.05 | [9 empty] | 0.35 | 70.82
198 | 120 | 50 |  | 28.328 | 1.2 | [9 empty] | 0.4 | 70.82
199 | 120 | 50 |  | 31.869 | 1.35 | [9 empty] | 0.45 | 70.82
200 | 120 | 50 |  | 35.41 | 1.5 | [9 empty] | 0.5 | 70.82
201 | 120 | 50 |  | 38.951 | 1.65 | [9 empty] | 0.55 | 70.82
202 | 120 | 50 |  | 42.492 | 1.8 | [9 empty] | 0.6 | 70.82
203 | 120 | 50 |  | 46.033 | 1.95 | [9 empty] | 0.65 | 70.82
204 | 120 | 50 |  | 49.574 | 2.1 | [9 empty] | 0.7 | 70.82
205 | 120 | 50 |  | 53.115 | 2.25 | [9 empty] | 0.75 | 70.82
206 | 120 | 50 |  | 56.656 | 2.4 | [9 empty] | 0.8 | 70.82
207 | 120 | 50 |  | 60.197 | 2.55 | [9 empty] | 0.85 | 70.82
208 | 120 | 50 |  | 63.738 | 2.7 | [9 empty] | 0.9 | 70.82
209 | 120 | 50 |  | 67.279 | 2.85 | [9 empty] | 0.95 | 70.82
210 | 120 | 50 |  | 70.82 | 3 | [9 empty] | 1 | 70.82

## FSQX03-240G (2)
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  | 0 | 3 |  |  | 0 | 20 | 40 | 90 | 100 |  | 30 | 60 | 0.1
Description
1 | 208 | 50 |  | 1 | 0 | [9 empty] | 0 | 103.55
2 | 208 | 50 |  | 5.1775 | 0.15 | [9 empty] | 0.05 | 103.55
3 | 208 | 50 |  | 10.355 | 0.3 | [9 empty] | 0.1 | 103.55
4 | 208 | 50 |  | 15.5325 | 0.45 | [9 empty] | 0.15 | 103.55
5 | 208 | 50 |  | 20.71 | 0.6 | [9 empty] | 0.2 | 103.55
6 | 208 | 50 |  | 25.8875 | 0.75 | [9 empty] | 0.25 | 103.55
7 | 208 | 50 |  | 31.065 | 0.9 | [9 empty] | 0.3 | 103.55
8 | 208 | 50 |  | 36.2425 | 1.05 | [9 empty] | 0.35 | 103.55
9 | 208 | 50 |  | 41.42 | 1.2 | [9 empty] | 0.4 | 103.55
10 | 208 | 50 |  | 46.5975 | 1.35 | [9 empty] | 0.45 | 103.55
11 | 208 | 50 |  | 51.775 | 1.5 | [9 empty] | 0.5 | 103.55
12 | 208 | 50 |  | 56.9525 | 1.65 | [9 empty] | 0.55 | 103.55
13 | 208 | 50 |  | 62.13 | 1.8 | [9 empty] | 0.6 | 103.55
14 | 208 | 50 |  | 67.3075 | 1.95 | [9 empty] | 0.65 | 103.55
15 | 208 | 50 |  | 72.485 | 2.1 | [9 empty] | 0.7 | 103.55
16 | 208 | 50 |  | 77.6625 | 2.25 | [9 empty] | 0.75 | 103.55
17 | 208 | 50 |  | 82.84 | 2.4 | [9 empty] | 0.8 | 103.55
18 | 208 | 50 |  | 88.0175 | 2.55 | [9 empty] | 0.85 | 103.55
19 | 208 | 50 |  | 93.195 | 2.7 | [9 empty] | 0.9 | 103.55
20 | 208 | 50 |  | 98.3725 | 2.85 | [9 empty] | 0.95 | 103.55
21 | 208 | 50 |  | 103.55 | 3 | [9 empty] | 1 | 103.55
22 | 230 | 50 |  | 0 | 0 | [9 empty] | 0 | 103.55
23 | 230 | 50 |  | 5.1775 | 0.15 | [9 empty] | 0.05 | 103.55
24 | 230 | 50 |  | 10.355 | 0.3 | [9 empty] | 0.1 | 103.55
25 | 230 | 50 |  | 15.5325 | 0.45 | [9 empty] | 0.15 | 103.55
26 | 230 | 50 |  | 20.71 | 0.6 | [9 empty] | 0.2 | 103.55
27 | 230 | 50 |  | 25.8875 | 0.75 | [9 empty] | 0.25 | 103.55
28 | 230 | 50 |  | 31.065 | 0.9 | [9 empty] | 0.3 | 103.55
29 | 230 | 50 |  | 36.2425 | 1.05 | [9 empty] | 0.35 | 103.55
30 | 230 | 50 |  | 41.42 | 1.2 | [9 empty] | 0.4 | 103.55
31 | 230 | 50 |  | 46.5975 | 1.35 | [9 empty] | 0.45 | 103.55
32 | 230 | 50 |  | 51.775 | 1.5 | [9 empty] | 0.5 | 103.55
33 | 230 | 50 |  | 56.9525 | 1.65 | [9 empty] | 0.55 | 103.55
34 | 230 | 50 |  | 62.13 | 1.8 | [9 empty] | 0.6 | 103.55
35 | 230 | 50 |  | 67.3075 | 1.95 | [9 empty] | 0.65 | 103.55
36 | 230 | 50 |  | 72.485 | 2.1 | [9 empty] | 0.7 | 103.55
37 | 230 | 50 |  | 77.6625 | 2.25 | [9 empty] | 0.75 | 103.55
38 | 230 | 50 |  | 82.84 | 2.4 | [9 empty] | 0.8 | 103.55
39 | 230 | 50 |  | 88.0175 | 2.55 | [9 empty] | 0.85 | 103.55
40 | 230 | 50 |  | 93.195 | 2.7 | [9 empty] | 0.9 | 103.55
41 | 230 | 50 |  | 98.3725 | 2.85 | [9 empty] | 0.95 | 103.55
42 | 230 | 50 |  | 103.55 | 3 | [9 empty] | 1 | 103.55
43 | 240 | 50 |  | 0 | 0 | [9 empty] | 0 | 103.55
44 | 240 | 50 |  | 5.1775 | 0.15 | [9 empty] | 0.05 | 103.55
45 | 240 | 50 |  | 10.355 | 0.3 | [9 empty] | 0.1 | 103.55
46 | 240 | 50 |  | 15.5325 | 0.45 | [9 empty] | 0.15 | 103.55
47 | 240 | 50 |  | 20.71 | 0.6 | [9 empty] | 0.2 | 103.55
48 | 240 | 50 |  | 25.8875 | 0.75 | [9 empty] | 0.25 | 103.55
49 | 240 | 50 |  | 31.065 | 0.9 | [9 empty] | 0.3 | 103.55
50 | 240 | 50 |  | 36.2425 | 1.05 | [9 empty] | 0.35 | 103.55
51 | 240 | 50 |  | 41.42 | 1.2 | [9 empty] | 0.4 | 103.55
52 | 240 | 50 |  | 46.5975 | 1.35 | [9 empty] | 0.45 | 103.55
53 | 240 | 50 |  | 51.775 | 1.5 | [9 empty] | 0.5 | 103.55
54 | 240 | 50 |  | 56.9525 | 1.65 | [9 empty] | 0.55 | 103.55
55 | 240 | 50 |  | 62.13 | 1.8 | [9 empty] | 0.6 | 103.55
56 | 240 | 50 |  | 67.3075 | 1.95 | [9 empty] | 0.65 | 103.55
57 | 240 | 50 |  | 72.485 | 2.1 | [9 empty] | 0.7 | 103.55
58 | 240 | 50 |  | 77.6625 | 2.25 | [9 empty] | 0.75 | 103.55
59 | 240 | 50 |  | 82.84 | 2.4 | [9 empty] | 0.8 | 103.55
60 | 240 | 50 |  | 88.0175 | 2.55 | [9 empty] | 0.85 | 103.55
61 | 240 | 50 |  | 93.195 | 2.7 | [9 empty] | 0.9 | 103.55
62 | 240 | 50 |  | 98.3725 | 2.85 | [9 empty] | 0.95 | 103.55
63 | 240 | 50 |  | 103.55 | 3 | [9 empty] | 1 | 103.55

## FSQ007-000G
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default |  | 0 | 3 |  |  | 0 | 20 | 40 | 90 | 100 |  | 30 | 60 | 0.1
Description
| 230 | 60 | 3 | 6.275 | 0.2871 | [6 empty] | 900 | 900
| 230 | 60 | 3 | 12.55 | 0.5742 | [6 empty] | 900 | 900
| 230 | 60 | 3 | 31.375 | 1.4355 | [6 empty] | 900 | 900
| 230 | 60 | 3 | 62.75 | 2.871 | [6 empty] | 900 | 900

## NWQ008-EA0G (2)
Name | Input |  |  |  |  | ITHD |  |  | Efficiency |  |  | Measure_Setting
|  |  |  | LoadA |  | Total_Harmonic |  | Order |  |  |  | Burning_Sec | Integration_Sec
| Voltage | Frequency | Turn_On_Delay | 0 | 1 | LowerSpec | UpperSpec |  | LowerSpec | UpperSpec | Remark |  |  | Vin_Torrance
Scale
Unit | V | Hz | s | A | A | % | % |  | % | % | string | Second | Second
Default | 230 | 50 | 3 | [5 empty] | 90 | 100 |  | 120 | 60 | 0.1
1 |  |  |  | 2.93 | 0.14808
2 |  |  |  | 5.86 | 0.29617
3 |  |  |  | 11.72 | 0.59234
4 |  |  |  | 17.58 | 0.88851
5 |  |  |  | 23.44 | 1.1847
6 |  |  |  | 29.3 | 1.4808
7 |  |  |  | 35.16 | 1.777
8 |  |  |  | 41.02 | 2.0732
9 |  |  |  | 46.88 | 2.3694
10 |  |  |  | 52.74 | 2.6655
11 |  |  |  | 58.6 | 2.9617