## Report_Template
PSU Name: | [5 empty] | Stage: | [5 empty] | HW_Version
PSU P/N: | [5 empty] | Power(W): | [5 empty] | FW_Version_Pri.
Test Date: | [5 empty] | Tester: | [5 empty] | FW_Version_Sec.
Test Method Doc. No.
Objective: |  | Function | [9 empty] | Test Station:
Capacitive Load: |  | Min cap, 12V= 500uf; 12Vsb= 20uf | [9 empty] | Test Duration:
PSU Requirement: |  | 1
Measured point:
Note by Tester: |  | refer product spec section 2.2, table 6.
Result Table: |  | 0 | Pass= |  | 0 | Fail= | 0 | Warning= |  | 0
Test Item | Judgement (Pass/Fail) | Input cond. |  |  |  | Output | Load cond. |  |  |  | Eff |  |  |  | ITHD |  |  | Vin | Iin | PF | Pin | Vout | Iout | Pout | Other
[11 empty] | Min. |  | Test | Max. | Min. | Test | Max. | Test | Test | Test | Test | Test | Test | Test
|  | Voltage |  | Freq (Hz) |  |  | (%) |  | (A) |  | (V) |  | (V) | (V) | (V) | (V) | (V) | (V) | (V) | (V) | (V) | (V) | (V) | (V) | Remark
!Index | !PassFailStr | !Input.Voltage |  | !Input.Frequency |  | Vout_1 | !Load[0] |  | !LoadA[0] |  | !Efficiency.LowerSpec |  | !Efficiency.MeasureData | !Efficiency.UpperSpec | !ITHD.Total_Harmonic.LowerSpec | !ITHD.Total_Harmonic.MeasureData | !ITHD.Total_Harmonic.UpperSpec | !Vin.MeasureData | !Iin.MeasureData | !Power_Factor.MeasureData | !Pin.MeasureData | !Vout[0].MeasureData | !Iout[0].MeasureData | !Pout.MeasureData | !Remark
[6 empty] | Vout_2 | !Load[1] |  | !LoadA[1] | [12 empty] | !Vout[1].MeasureData | !Iout[1].MeasureData
Note on A3: Section No.
Note on D3: Test Item Name